***Annual Drinking Water Quality Report for 2024***

***Village of Margaretville***

***PO Box 228***

***Margaretville, NY 12455***

***Public Water Supply ID #1200268***

#### Introduction

To comply with State and Federal regulations, Village of Margaretville Water System, will be annually issuing a report describing the quality of your drinking water. The purpose of this report is to raise your understanding of drinking water and awareness of the need to protect our drinking water sources. Last year, your tap water met all State drinking water health standards. We are proud to report our system did not violate a maximum contaminant level or any other water quality standard. This report provides an overview of last year’s water quality. Included are details about where your water comes from, what it contains, and how it compares to State standards.

If you have any questions about this report or concerning your drinking water, please contact **John Paul Beers, Public Works Superintendent, (845)-586-3700**. We want you to be informed about your drinking water. If you want to learn more, please attend any of our regularly scheduled village board meetings held the third Tuesday of each month. The meetings are held at 5:00 pm in the village office located in the Gottfried Building, 773 Main Street, Margaretville.

**Where does our water come from?**

In general, the sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells. As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and in some cases, radioactive material and can pick up substances resulting from the presence of animals or from human activities. Contaminants that may be present in source water include microbial contaminants; inorganic contaminants; pesticides and herbicides; organic chemical contaminants; and radioactive contaminants. In order to ensure that tap water is safe to drink, the State and the EPA prescribe regulations which limit the amount of certain contaminants in water provided by public water systems. The State Health Department and the FDA’s regulations establish limits for contaminants in bottled water which must provide the same protection for public health.

Our water sources are Ball Park and Fair Street Wells which are located in the Village Park and off Fair Street behind McIntosh Auction Service. The water is chlorinated, and pH adjusted at each source prior to distribution. Our water system serves approximately 650 people through 300 service connections.

**SOURCE WATER ASSESSMENT REPORT SUMMARY**:

The NYSDOH has completed a source water assessment for this system, based on available information. Possible and actual threats to the drinking water sources were evaluated. The state source water assessment includes a susceptibility rating based on the risk posed by each potential source of contamination and how easily contaminants can move through the subsurface to the water sources.

The susceptibility rating is an estimate of the potential for contamination of the source water, it does not mean that the water delivered to consumers is or will become contaminated. While nitrates (and other inorganic contaminants) were detected in our water, it should be noted that all drinking water, including bottled drinking water, may be reasonably expected to contain at least small amounts of some contaminants from natural sources. The presence of contaminants does not necessarily indicate that the water poses a health risk. The nitrate levels in our sources are not considered high in comparison with other sources in this area. See section “Are there contaminants in our drinking water?” for a list of the contaminants that have been detected.

As mentioned before, our water is derived from 2 drilled wells. The source water assessment has rated these wells as having a high susceptibility to microbials and nitrates, and a medium-high susceptibility to industrial solvents, and other industrial contaminants. These ratings are due primarily to the close proximity of permitted discharge facilities (industrial/commercial facilities that discharge wastewater into the environment and are regulated by the state and/or federal government), low intensity residential activities, and row crop within the assessment area. In addition, the wells draw from an unconfined aquifer of unknown hydraulic conductivity. These ratings are due to the pasture and row crop land covers (respectively) in the assessment area. While the source water assessment rates our sources as being susceptible to microbials, please note that our water is disinfected to ensure that the finished water delivered into your home meets New York State’s drinking water standards for microbial contamination. A copy of the assessment, including a map of the assessment area, can be obtained by contacting us, as noted below.

**Are there contaminants in our drinking water?**

As the State regulations require, we routinely test your drinking water for numerous contaminants. These contaminants include total coliform, inorganic compounds, nitrate, nitrite, lead and copper, volatile organic compounds, total trihalomethanes, halo acetic acids, radiological and synthetic organic compounds. The table presented below depicts which compounds were detected in your drinking water. The State allows us to test for some contaminants less than once per year because the concentrations of these contaminants do not change frequently. Some of our data, though representative, are more than one year old.

It should be noted that all drinking water, including bottled drinking water, may be reasonably expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily indicate that water poses a health risk. More information about contaminants and potential health effects can be obtained by

Calling the EPA’s Safe Drinking Water Hotline 800-426-4791 or NYS Department of Health, Oneonta District Office at 607-432-3911.

|  |
| --- |
| Table of Detected Contaminants |
| Contaminant | ViolationYes/No | Date of sample | Level Detected(Maximum)(Range) | UnitMeasure-ment | Regulatory Limit (MCL, TT or AL) | MCLG | Likely Source of Contamination |
| Nitrate | No | 4/3/24 | Ballpark –0.45 | mg/l | 10 | 10 | Runoff from fertilizer use; Leaching from septic tanks, sewage; Erosion of natural deposits. |
| 4/3/24 | Fair St – 0.54 |
| Barium | No | 6/20/24 | Ballpark – 0.02 | mg/l | 2 | 2 | Discharge of drilling wastes; Discharge from metal refineries; Erosion of natural deposits |
| 6/23/21 | Fair St – 0.017 |
| Nickel | No | 6/23/21 | Fair St – 0.0015 | mg/l | None | N/A | Naturally occurring. |
|  |
| Lead | No | 9/20/23 | 1.5 (1)ND-1.7 | ug/l | AL=15 | 0 | Corrosion of household plumbing systems; Erosion of natural deposits. |
| Copper | No | 9/20/23 | 0.481 (1).025-1.51 | mg/l | AL=1.3 | 1.3 | Corrosion of household plumbing systems; Erosion of natural deposits; leaching from wood preservatives. |
| Total Trihalomethanes (TTHMs – chloroform, bromodichloromethane, dibromochloromethane, and bromoform) | No | 9/19/24 | Distribution System – 1.39 | ug/l | 80 | N/A | By-product of drinking water chlorination needed to kill harmful organisms. TTHMs are formed when source water contains organic matter. |

(1) The level presented represents the 90th percentile of the 10 sites tested. A percentile is a value on a scale of 100 that indicates the percent of a measurements that are equal to or below it. The 90th percentile is equal to or greater than 90% of values detected at your water system. In this case, 10 samples were collected and the 90th percentile value was the second highest value (1.5 ug/l for lead and 0.481 mg/l for copper. The action level for lead was not exceeded at any of the sites tested. The action level for copper was exceeded at one site tested.

**Definitions:**

***Maximum Contaminant Level* (**MCL): The highest level of a contaminant that is allowed in drinking water. MCLs are set as close to the MCLGs as feasible.

***Maximum Contaminant Level Goal*** (MCLG):The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs allow for a margin of safety.

***Maximum Contaminant Disinfectant Level (MRDL)***: The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

***Maximum Residual Disinfectant Level Goal (MRDLG):*** The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contamination.

***Action Level* (**AL): The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

***Non-Detects*** (ND): Laboratory analysis indicates that the constituent is not present.

***Milligrams per liter*** (mg/l): Corresponds to one part of liquid in one million parts of liquid (parts per million - ppm).

***Micrograms per liter*** (ug/l):Corresponds to one part of liquid in one billion parts of liquid (parts per billion - ppb).

**What does this information mean?**

As you can see by the table, our system had no violations. We have learned through our testing that some contaminants have been detected; however, these contaminants were detected below the level allowed by the State.

Lead can cause serious health effects in people of all ages, especially pregnant people, infants (both formula-fed and breastfed), and young children. Lead in drinking water is primarily from materials and parts used in service lines and in home plumbing. The Village of Margaretville is responsible for providing high quality drinking water and removing lead pipes but cannot control the variety of materials used in the plumbing in your home. Because lead levels may vary over time, lead exposure is possible even when your tap sampling results do not detect lead at one point in time. You can help protect yourself and your family by identifying and removing lead materials within your home plumbing and taking steps to reduce your family's risk. Using a filter, certified by an American National Standards Institute accredited certifier to reduce lead, is effective in reducing lead exposures. Follow the instructions provided with the filter to ensure the filter is used properly. Use only cold water for drinking, cooking, and making baby formula. Boiling water does not remove lead from water. Before using tap water for drinking, cooking, or making baby formula, flush your pipes for several minutes. You can do this by running your tap, taking a shower, doing laundry or a load of dishes. If you have a lead service line or galvanized requiring replacement service line, you may need to flush your pipes for a longer period. If you are concerned about lead in your water and wish to have your water tested, contact John Paul Beers, Public Works Superintendent at 845-586-3700. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available at [*https://www.epa.gov/safewater/lead*](https://www.epa.gov/safewater/lead).

**IS OUR WATER SYSTEM MEETING OTHER RULES THAT GOVERN OPERATIONS?**

We are required to monitor your drinking water for specific contaminants on a regular basis. Results of regular monitoring are an indicator of whether or not your drinking water meets health standards. During 2024, we did not complete all monitoring or testing for the primary inorganic chemicals from the Fair Street Well, and therefore cannot be sure of the quality of your drinking water during that time.

**INFORMATION ON LEAD SERVICE LINE INVENTORY**

A Lead Service Line (LSL) is defined as any portion of pipe that is made of lead which connects the water main to the building inlet. An LSL may be owned by the water system, owned by the property owner, or both. The inventory includes both potable and non-potable SLs within a system. In accordance with the federal Lead and Copper Rule Revisions (LCRR) our system has prepared a lead service line inventory and has made it publicly accessible at our website at: <https://villageofmargaretville.com/lead-service-line-report/>.

#### Do I Need to Take Special Precautions?

Although our drinking water met or exceeded state and federal regulations, some people may be more vulnerable to disease causing microorganisms or pathogens in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice from their health care provider about their drinking water. EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium, Giardia and other microbial pathogens are available from the Safe Drinking Water Hotline (800-426-4791).

**Information for Non-English-SPEAKING Residents**

**Spanish**

Este informe contiene información muy importante sobre su agua beber. Tradúzcalo ó hable con alguien que lo entienda bien.

#### French

Ce rapport contient des informations importantes sur votre eau potable. Traduisez‑le ou parlez en avec quelqu’un qui le comprend bien.

###### Why Save Water and How to Avoid Wasting It?

Although our system has an adequate amount of water to meet present and future demands, there are a number of reasons why it is important to conserve water:

* Saving water saves energy and some of the costs associated with both of these necessities of life;
* Saving water reduces the cost of energy required to pump water and the need to construct costly new wells, pumping systems and water towers; and
* Saving water lessens the strain on the water system during a dry spell or drought, helping to avoid severe water use restrictions so that essential firefighting needs are met.

You can play a role in conserving water by becoming conscious of the amount of water your household is using, and by looking for ways to use less whenever you can. It is not hard to conserve water. Conservation tips include:

* Automatic dishwashers use 15 gallons for every cycle, regardless of how many dishes are loaded so get a run for your money and load it to capacity.
* Turn off the tap when brushing your teeth.
* Check every faucet in your home for leaks. Just a slow drip can waste 15 to 20 gallons a day. Fix it and you can save almost 6,000 gallons per year.
* Check your toilets for leaks by putting a few drops of food coloring in the tank, watch for a few minutes to see if the color shows up in the bowl. It is not uncommon to lose up to 100 gallons a day from one of these otherwise invisible toilet leaks. Fix it and you save more than 30,000 gallons a year.
* Use your water meter to detect hidden leaks. Simply turn off all taps and water using appliances, then check the meter after 15 minutes, if it moved, you have a leak.

**REMEMBER LEAKS ARE YOUR RESPONSIBILITY, THEY ARE WASTEFUL AND COSTLY. LEAKS DON’T SLEEP, THEY CONTINUE 24 HOURS A DAY, WHILE YOU MAY BE SLEEPING YOUR WATER BILL ISN’T. YOU MUST PAY FOR WATER THAT RUNS THROUGH YOUR METER REGARDLESS OF IF IT IS USED OR LEAKED AWAY.**

Closing

Thank you for allowing us to continue to provide your family with quality drinking water this year. In order to maintain a safe and dependable water supply we sometimes need to make improvements that will benefit all of our customers. The costs of these improvements may be reflected in the rate structure. Rate adjustments may be necessary in order to address these improvements. We ask that all our customers help us protect our water sources, which are the heart of our community, our way of life and our children’s future. Please call our office if you have questions.

 VILLAGE OF MARGARETVILLE IS AN EQUAL OPPORTUNITY EMPLOYER

COMPLAINTS OF DISCRIMINATION SHOULD BE SENT TO:

USDA, DIRECTOR, OFFICE OF CIVIL RIGHTS, WASHINGTON, D.C. 20250-9410

TDD (800)662-1220